# TRFS Cembase  Cement based self leveling industrial surface system

# DESCRIPTION

TRFS Cembase is designed as an industrial grade oor topping for upgrading and renovating new and existing internal oors.

TRFS Cembase is supplied as a pre-blended dry powder designed for application between 5 mm to 50 mm (in one application) to provide a finished sound floor.

# APPLICATIONS

It is suitable for use in a wide range of industrial and commercial applications such as:

» Warehouses. » Food processing plants. » Industrial floors. » Car parks. » Underfloor heating systems.

# ADVANTAGES

- »  Self-smoothing.

- »  Dimensionally stable.

- »  Fast drying.

- »  Can be applied by pump.

- »  TRFS Cembase can be pumped to cover an area of 2000 m2 per day. Alternatively a coverage of 600m2 per day can be achieved when hand applied, depending on manpower, thickness applied and equipment used.  STANDARDS  TRFS Cembase complies with EN 13813, Class CT-C35- F5-AR1.  METHOD OF USE  SUBSTRATE PREPARATION  Concrete substrates should be fully cured and achieve a minimum compressive strength of 25 N/mm2 and a minimum pull-o strength of 1.5 N/mm2.  The concrete substrate should be below 75% RH and have less than 4% moisture content. Alternatively, TRFS Damp Tolerant Primer should be applied according to the priming section.

# SURFACE PREPARATION

Concrete surfaces must be degreased using degreasing products, torching or any other suitable method which assures the surface is free from any oil traces.

Surfaces should be sound and with no irregularities as they can affect the finish of the applied product. Concrete surfaces are to be mechanically prepared to remove laitance and achieve a at surface, grit blasting or surface pro ling equipment are preferred. Acid etching can be used after consulting with TRFS’s Technical Department.

Surface defects such as voids and blowholes should be repaired before application. Consult TRFS's Technical Department for the best repair material.

TECHNICAL PROPERTIES @ 250C. W/P: 0.18:

Flow properties using 35 cc ow ring: ISO 554 Workability: Vicat setting time: Footra tra c: Light tra c: *Compressive strength: ASTM C109/109M-02 BS EN 13892-2 Flexural strength: BS 6319, Part 3 : 1990 BS EN 13892-2 Maximum wear depth: BS EN 13892-4 Initial ≥ 120 mm After 15 min ≥ 110 mm 15 - 20 min 2 hr 24 hr 48 hr > 25 MPa @ 7 days > 35 MPa @ 28 days > 5 MPa @ 7 days > 7 MPa @ 28 days > 5 MPa @ 28 days 0.1 mm 35oC 32oC < 400 @ 28 days 5 – 50 mm > 1.5 MPa @ 28 days < 5 g/ltr Maximum application surrounding temperature: Maximum mixed material temperature: Shrinkage (μ/m): ASTM C490-00a Application thickness: Bond strength to concrete: ASTM C1583 VOC: ASTM D2369

*Note: dry cure for compressive and exural strengths.

# TRFS Cembase Base S

Surfaces must be free of any dust or loose particles before product application. Use suitable methods like vacuuming or sweeping.

If possible, apply the product on a small test area before actual application to check for any problems with the surface preparation.

After Strongcoat DPM has been applied and left to cure, apply Strongcoat Primer and whilst it is still tacky fully blind with Antislip Aggregate #2 at approximately 3 kg/ m2, until the surface is covered and no resin spots remain. Allow to dry fully overnight and remove excess aggregate before applying TRFS Cembase Base S.

# MIXING

Hand Application:

Use a power-whisk tted in a heavy-duty slow speed electric drill. Mix in the proportion of 25 kg of powder to 4.5 – 4.8 litre of potable water.

Pour the water into a suitably sized bucket and gradually add the powder while stirring, until a smooth, lump free consistency is achieved.

Pump Application:

Mix the powder and water according to the method recommended by the pump manufacturers. In the case of pumps having a continuous water feed adjust the rate of water ow until the mix is a smooth uid, uniform grey liquid with no surface separation, producing a ow of approximately 130 mm using a 50 cc ow ring.

To avoid separation, applications greater than 15 mm require less water and therefore a reduced ow.

# APPLICATION

Pour or pump the mixed material onto the prepared surface and allow to attain a smooth nish. The use of a spiked roller will help eliminate entrapped air and smooth out ow lines. Apply at a thickness between of 5 - 50 mm in one pass.

It is always better to work in manageable sections of approximately 20 m2. It is recommended to seal TRFS Cembase Base S with suitable epoxy resin or solvent based resin sealer, especially if water may come into direct contact with the cured TRFS Cembase Base S. Where materials are to be applied over the surface of the hardened TRFS Cembase Base S, it is good practice to SHOT BLASTING the surface prior to carrying out subsequent treatments.

# CURING

Curing is not required in normal conditions, but in harsh climatic conditions like direct sunlight, ow of wind, elevated temperatures, etc; freshly hardened concrete surfaces should be covered with polyethylene sheets.

# PRIMING

Priming is done to seal the substrate in order to prevent pin holing caused by the release of air from the substrate. The following priming options are available:

# TRFS Cembase Primer

For application onto sand/cement screeds, concrete and other porous substrates, rst seal the prepared surface by applying one coat of TRFS Cembase Primer diluted with 3 parts potable water and allow to dry.

Prime the sealed surface by applying a second coat of TRFS Cembase Primer diluted with 3 parts potable water and brush well into the surface. The primer must be allowed to dry before the application of TRFS Cembase Base S.

# Strongcoat Primer

For impervious surfaces, apply one coat of Strongcoat Primer and whilst still tacky fully blind with Antislip Aggregate #2 at approximately 3 kg/m2 until the surface is covered and no resin spots remain. Allow to dry fully overnight and remove excess aggregate before applying TRFS Cembase Base S.

For porous substrates, apply one coat of Strongcoat Primer and allow to cure. Apply second coat and whilst still tacky fully blind with Antislip Aggregate #2 in the manner mentioned above.

Allow to dry fully overnight and remove excess aggregate before applying TRFS Cembase Base S.

# Strongcoat DPM

For surfaces with RH between 75 and 85%, prime with 1 coat of Strongcoat DPM and allow to dry prior to application of Strongcoat Primer. For surfaces with RH greater than 86%, prime with 2 coats of Strongcoat DPM and allow the second coat to dry before priming with Strongcoat Primer.

# PRECAUTIONS

# TRFS Cembase Base S

CAUTIONS HEALTH AND SAFETY TRFS Cembase Base S may cause irritation to skin or eyes.

In case of accidental contact with eyes, immediately ush with plenty of water for at least 10 minutes and seek medical advise if necessary.

For further information refer to the Material Safety Data Sheet.

# FIRE

TRFS Cembase Base S is non ammable.

» Don’t place when the substrate temperature is below 10oC or when the ambient temperature is 10oC and falling.

- »  Protect from frost.

- »  Don’t exceed the recommended water content and only

use potable cool water. Better to have the mixed fresh

material temperature < 30oC.

- »  This product is not recommended for external use or  situations where water may come into direct contact  with the cured material.

- »  Not recommended to work with the product when  surrounding temperature > 35oC.

- »  The material should not be used on oors where rising  damp is valid, unless a suitable primer is used.  CLEANING  Tools and equipment can be cleaned with water immediately after use.  PACKAGING  TRFS Cembase Base S is available in 25 kg bags. TRFS Cembase Primer is available in 5 and 25 litre pails.  COVERAGE  TRFS Cembase Base S: 1.36 m2 @ 10 mm thickness for 25 kg bag mixed with 4.5 litre of clean water.  TRFS Cembase Primer when diluted 3 parts potable water to one part primer: 30 m2/5 litre. 150 m2/25 litre.  STORAGE  Store in a dry area out of frost at temperatures between 10°C and 30°C.  SHELF LIFE  TRFS Cembase Base S has a shelf life of 9 months from date of manufacture if stored in proper conditions.  If these conditions are exceeded, DCP Technical Department should be contacted for advise.

# MORE FROM DON CONSTRUCTION PRODUCTS

A wide range of construction chemical products are manufactured by DCP which include:

» Concrete admixtures. » Surface treatments » Grouts and anchors. » Concrete repair.

» Flooring systems. » Protective coatings. » Sealants. » Waterproo ng. » Adhesives. » Tile adhesives and grouts. » Building products. » Structural strengthening.